جدول الدروس الاسبوعي

| الاسم | أ. م. د مازن عبدالاله علوان |
| --- | --- |
| البريد الالكتروني | drmazinalwan@sa-uc.edu.iq |
| اسم المادة | اجهزة وقياسات |
| مقرر الفصل | سنوي |
| الهدف العام للمقرر | • التعرف على اجهزة القياس و وحدات القياس العالمية وخصوصا المتعلق منها بالهندسة الكهربائية |
| الأهداف الخاصة | •تحليل عمل مكونات نظام القياس وتحديد واجب كل منها بشكل تفصيلي . •تصنيف أجهزة القياس وتصميم البعض منها •أجادة القياسات الممكن أجراؤها على الموجة الكهربائية . •تصميم نظام تحسس الكميات الفيزيائية وتحويلها إلى إشارات كهربائية باستخدام المتحسسات . |
| الكتب المنهجية | Measurement and Instrumentation Principles : by Alan S. Morris. \third edition 2003 \ Butterworth-Heinemann |
| المصادر الخارجية | Introduction to INSTRUMENTATION AND MEASUREMENTS :by Robert B. Northrop \ Second Edition © 2005 by Taylor & Francis Group, LLC |
| تقديرات الفصل | الفصل الدراسي | المختبر | الامتحانات اليومية | المشروع | الامتحان النهائي |
|  | 12 | 5 | 3 | - | 60 |
| معلومات اضافية |  |

جدول الدروس الاسبوعي

| الاسبوع | التاريخ | المادة النظرية | المادة العلمية | الاهداف |
| --- | --- | --- | --- | --- |
| 1 | 2-10-2022 | Units of measurements SI system ,block diagram and description of measurement system components . | Knowing and using S.I. units . Understanding measurement system . |  |
| 2 | 9-10-2022 | Active and passive instruments . Analogue and digital instruments . | Understanding measuring instruments classification methods |  |
| 3 | 16-10-2022 | Important sources of instrument reading error ,introduction to signal processing element of measurement system | Analyzing ,calculating error in measuring devices |  |
| 4 | 23-10-2022 | 1st order and 2nd order LPF design for measurement signal noise removing . | Understanding /designing filters . |  |
| 5 | 30-11-2022 | Op. amp application in signal processing :Signal amplification and attenuation ,signal integration and differentiating. | Understanding /designing amplifier ,integrator ,and differentiator . |  |
| 6 | 7-11-2022 | Op. amp application in signal processing :signals summing , voltage follower application in instrument protection and inputs buffering . | Understanding ,Designing Summer ,voltage follower circuits |  |
| 7 | 14-11-2022 | Digital instruments basics :analogue to digital convertors ,sampling ,quantization . | Understanding basics of digital measuring instruments |  |
| 8 | 21-11-2022 | Digital instruments basics :design of computerized measurement system (protocol ,components ,usage ) | Understanding basics of computerized measurement system . |  |
| 9 | 28-12-2022 | Digital instruments basics :flash ADC design principles and implementation . | Understanding ,designing heart of digital measuring device . |  |
| 10 | 4-12-2022 | Magnetic field measuring devices basics :moving coil instrument ,moving iron instrument . | Understanding basic construction and operation |  |
| 11 | 11-12-2022 | Magnetic field measuring devices : clamp on meter . Electric field devices : electro static voltmeter . | Understanding basic construction and operation |  |
| 12 | 18-12-2022 | Ohm meter : multi range ohmmeter design ,main sources of error , Light meter basic principles . | Understanding basic construction and operation |  |
| 13 | 25-12-2022 | Design of multi range voltmeter (rules ,calculations ,examples ) . | Understanding ,applying calculations needed . |  |
| 14 | 2-1-2023 | Design of multi range ammeter (rules ,calculations ,examples ) . | Understanding ,applying calculations needed . |  |
| 15 | 28-2-2023 | Make before break switch basics ,determination of voltmeter and ammeter sensitivities . | Understanding ,applying calculations needed . |  |
| 16 | 7-3-2023 | Multi range instruments worked examples solving . | Practicing with practical examples |  |
| 17 | 14-3-2023 | Digital instruments :measuring frequency (frequency counter ) basics ,Events counter basics and usage . | Understanding basic construction and operation |  |
| 18 | 21-3-2023 | An introduction to wave form generation :what is wave form ,wave form types . | Understanding basic construction and operation |  |
| 19 | 28-3-2023 | An introduction to wave form generation : (function generator basics ) ,function generator building blocks . | Understanding basic construction and operation |  |
| 20 | 3-4-2023 | Cathode ray oscilloscope :CRT internal construction and building blocks jobs . | Understanding basic construction and operation |  |
| 21 | 10-4-2023 | Cathode ray oscilloscope :internal control circuits building blocks jobs . | Understanding basic construction and operation |  |
| 22 | 17-4-2023 | Measurement signal recording :Galvanometric recorder ,Ultra violet light recorder . | Understanding basic construction and operation |  |
| 23 | 24-4-2023 | Measurement signal recording : analogue storage oscilloscope ,digital storage oscilloscope | Understanding basic construction and operation |  |
| 24 | 1-5-2023 | Sensor technologies basics :what is sensor ?,why we need sensor ? ,examples of sensor . | Understanding ,analyzing working principles |  |
| 25 | 8-5-2023 | Analogue sensor :basics ,sound sensor ,thermocouple . | Understanding ,analyzing working principles |  |
| 26 | 17-5-2023 | Light dependent resistor LDR ,LDR applications | Understanding ,analyzing working principles |  |
| 27 | 24-5-2023 | Digital sensor :basics ,measuring rotating shaft speed using light sensor . | Knowing and using S.I. units . Understanding measurement system . |  |
| 28 | 31-5-2023 | Metric Prefix Table worked examples . | Understanding measuring instruments classification methods |  |
| 29 | 7-6-2023 | Wheatstone D.C. bridge . | Analyzing ,calculating error in measuring devices |  |
| 30 | 13-6-2023 | Wheatstone D.C. bridge example . | Understanding /designing filters . |  |

توقيع الاستاذ :						توقيع رئيس القسم :

# Text boxes

الجامعة : كلية شط العرب الجامعة

الكلية : كلية شط العرب الجامعة

القســم : قسم هندسة تقنيات الحاسوب

المرحلة :الثانية

اسم المحاضر الثلاثي : أ. م. د مازن عبدالاله علوان

اللقب العلمي : أ. م.

المؤهل العلمي : دكتوراة

مكان العمل  : كلية شط العرب الجامعة

جمهورية العراق

وزارة التعليم العالي والبحث العلمي

جهاز الاشراف والتقويم العلمي

الجامعة : كلية شط العرب الجامعة

الكلية : كلية شط العرب الجامعة

القســم : قسم هندسة تقنيات الحاسوب

المرحلة :الثانية

اسم المحاضر الثلاثي : أ. م. د مازن عبدالاله علوان

اللقب العلمي : أ. م.

المؤهل العلمي : دكتوراة

مكان العمل  : كلية شط العرب الجامعة

جمهورية العراق

وزارة التعليم العالي والبحث العلمي

جهاز الاشراف والتقويم العلمي